Walk In Tub

Stamford 75

In Swing Door

GENERAL SPECIFICATIONS

Dimensions …………………………...…...……….1300 x 750 x 950mm

User Weight Capacity……………....………………35 Stone/225 KG.

Operating Capacity …………………………....……….…….. 296 Litres

Features:

Pop Up PVC Drain

· Size - 2”

· Plunger with Chain

Door

· Opening Width - 550mm

· Patented Door System Technology

· Aluminum Door and Frame

Acrylic Shell

· White

· Smooth Finish

· Anti-Slip Floor

· Acrylic Surface with Fiberglass Substrate

· Grab Bar

· Stainless Steel Frame

· Includes front panel and 1 end panel

Options

· Left or Right Hand Door

In an effort to continually improve our product, specifications and configurations are subject to change without notice.

Will require 2 people to lift.

Front View

Economy Stamford

Right Hand Shown

Top View